DATE SURVEY COMPLETED___________________

Name, title, phone number and email of person completing the survey

_________________________________________________

I.  FACILITY INFORMATION:

Facility Name:

Address: ( street address, city)

Contact Person: Title:

Phone: Fax:

E-mail:

II.  BUILDING INFORMATION

A.  GENERAL

| Construction Date |  |
| --- | --- |
| Original Use |  |
| Current Use |  |
| Number of floors |  |
| Total Square Footage |  |
| Total Number of people in building |  |
| Total number and types of elevators |  |

Is the building leased 		_____YES	_____NO?

| Building Owner’s Name |  |
| --- | --- |
| Address |  |
| Phone Number |  |
| Email |  |

B.  TENANTS

Is there more than one tenant in the building? _____YES	NO___ (list tenants below)

C.  HOUSEKEEPING

| Staffing | YES | NO | Remarks |
| --- | --- | --- | --- |
| Number of full time custodians |  |  |  |
| In-house custodians |  |  |  |
| Contract custodians |  |  |  |
| Daily cleaning |  |  |  |

Describe daily cleaning activities:___________________________________________________

If there is carpet, describe frequency and methods for deep cleaning_______________________

______________________________________________________________________________

Where are cleaning products stored?        ________________________________________________________________

D.  SMOKING POLICY

Is there written smoking policy?		 _____YES	_____NO

| No Smoking |  |
| --- | --- |
| Smoking indoors? Where? |  |
| Smoking outdoors? Where? |  |

E.  AREA SURROUNDING BUILDING (all sides)

| Describe area around building | Description |
| --- | --- |
| Industrial sites, agriculture, livestock |  |
| Construction/Demolition near Building |  |
| Odors outside the Building |  |
| Other |  |

III.  CONSTRUCTION INFORMATION

A.  CONSTRUCTION  (check all that apply)

| Type | YES | NO | Remarks |
| --- | --- | --- | --- |
| Manufactured |  |  |  |
| Mobile |  |  |  |
| Site built |  |  |  |
| Other |  |  |  |

B.  EXTERIOR OF BUILDING (check all that apply)

| Type | YES | NO | Remarks |
| --- | --- | --- | --- |
| Solid masonry |  |  |  |
| Masonry veneer |  |  |  |
| Wood siding |  |  |  |
| Vinyl siding |  |  |  |
| Metal siding |  |  |  |
| Composite siding |  |  |  |
| Stucco |  |  |  |
| Synthetic stucco |  |  |  |
| Other |  |  |  |

D  ROOF SYSTEM

| Type | YES | NO | Remarks |
| --- | --- | --- | --- |
| Flat built-up |  |  |  |
| Metal sloped |  |  |  |
| Pitched shingles |  |  |  |
| Other |  |  |  |

Age of Roofing System _______

Describe any roof repairs in the last 2 years________________________________________

E.  RENOVATIONS OR ADDITIONS

| Activity | YES | YES | Dates and scope of work |
| --- | --- | --- | --- |
| Renovations to the building (including painting, new floor coverings and new furniture) |  |  |  |
| Additions to the building |  |  |  |
| HVAC systems upgraded or modified during renovations/additions |  |  |  |
| Modifications to exterior wall assemblies(including windows and doors) |  |  |  |

D.  EXTERIOR MOISTURE MANAGEMENT

|  | YES | NO | Remarks / locations |
| --- | --- | --- | --- |
| Gutters |  |  |  |
| Exterior downspouts |  |  |  |
| Splash blocks |  |  |  |
| Interior Roof Drains |  |  |  |
| Perimeter (French Drains) |  |  |  |
| Irrigation adjacent to the building |  |  |  |
| Shrubbery within 5 feet of building |  |  |  |
| Ground cover/mulch against building |  |  |  |
| Ground graded away from building |  |  |  |

IV.  INTERIOR BUILDING DESCRIPTION

A. FOUNDATION (check all that apply)

| Type |  | YES | NO | Remarks / locations |  |
| --- | --- | --- | --- | --- | --- |
| Slab on grade |  |  |  |  |  |
| Basement occupied |  |  |  |  |  |
| Basement unoccupied |  |  |  |  |  |
| Crawl space |  |  |  |  |  |
|  | Wall vented |  |  |  |  |
|  | Unvented |  |  |  |  |
|  | Vapor retarder with 100% coverage |  |  |  |  |
|  | Dehumidifer in crawlspace |  |  |  |  |
|  | Other |  |  |  |  |

B.  FLOOR COVERINGS (check all that apply)

| Materials | YES | NO | Remarks |
| --- | --- | --- | --- |
| Carpet over particle board |  |  |  |
| Carpet over plywood |  |  |  |
| Carpet over hardwood |  |  |  |
| Carpet over concrete |  |  |  |
| Carpet over vinyl tile |  |  |  |
| Hardwood |  |  |  |
| Vinyl tile |  |  |  |
| Ceramic |  |  |  |

C.  INTERIOR WALLS (check all that apply)

| Type | YES | NO | Remarks |
| --- | --- | --- | --- |
| Gypsum |  |  |  |
| Plywood paneling |  |  |  |
| Solid wood panels |  |  |  |
| Masonry |  |  |  |
| Plaster |  |  |  |
| Vinyl wall coverings |  |  |  |
| Fabric covered partitions |  |  |  |
| Other |  |  |  |

D. CEILING (check all that apply)

| Type | YES | NO | Remarks |
| --- | --- | --- | --- |
| Suspended ceiling |  |  |  |
| Insulation above ceiling |  |  |  |
| Plaster |  |  |  |
| Other |  |  |  |

What type of lighting is provided? __________________________________

E.  WINDOWS (Check all the apply)

| Type | YES | NO | Remarks / Condition of frames |
| --- | --- | --- | --- |
| Lift to open |  |  |  |
| Slide to open |  |  |  |
| Open out/in |  |  |  |
| Cannot be opened |  |  |  |
| Wood frame |  |  |  |
| Metal frame |  |  |  |
| Vinyl frame |  |  |  |

Age of windows ________

F.  FIRE PROTECTION

|  | YES | NO | Remarks |
| --- | --- | --- | --- |
| Fire protection (sprinkler system) |  |  |  |
| Fire Protection system inspected |  |  | Frequency? |

V.  HEATING VENTILATING AND AIR-CONDITIONING (HVAC)

A.  HEATING SYSTEM DESCRIPTION

| Type | YES | NO | Remarks |
| --- | --- | --- | --- |
| Forced warm air |  |  | Gas Oil Electric |
| Radiant steam/hot water |  |  | Gas Oil |
| Electric radiant/baseboard |  |  |  |
| Heat pump |  |  |  |
| Other |  |  |  |
| No heat in building |  |  |  |

Age of heating systems _______

B.  AIR CONDITIONING (MECHANCIAL COOLING)

| Type | YES | NO | Type coolant |
| --- | --- | --- | --- |
| Central forced air |  |  |  |
| Mounted fan coil |  |  |  |
| Window unit |  |  |  |
| Packaged through the wall |  |  |  |
| Central chiller |  |  |  |
| Heat pump |  |  |  |
| No coolind |  |  |  |

Age of Cooling Systems _________

C. AIR DUCTS

| Type | YES | NO | Remarks |
| --- | --- | --- | --- |
| Metal |  |  |  |
| Flexible |  |  |  |
| None |  |  |  |
| Ductboard |  |  |  |
| Exterior insulation |  |  |  |
| Interior insulation |  |  |  |

D.  LOCATION OF AIR DUCTS

|  | YES | NO | Remarks |
| --- | --- | --- | --- |
| Above the ceiling |  |  |  |
| In the walls |  |  |  |
| In the crawlspace |  |  |  |
| Under building |  |  |  |
| Ducted Return air |  |  |  |
| Return Air plenum |  |  |  |

E.  HVAC FILTRATION

| Type | YES | NO | Remarks |
| --- | --- | --- | --- |
| Standard fabric/fiberglass |  |  |  |
| Electronic |  |  |  |
| Pleated |  |  |  |
| Electrostatic |  |  |  |
| Carbon |  |  |  |
| Other |  |  |  |

F.  HVAC Maintenance

|  | YES | NO | Remarks |
| --- | --- | --- | --- |
| Scheduled of filter changing |  |  |  |
| Scheduled HVAC cleaning |  |  |  |
| HVAC staff in-house |  |  |  |
| Contract HVAC Service |  |  |  |
| Biocides in HVAC |  |  |  |
| Condensate drains functional |  |  |  |

G.  HVAC Controls

|  | YES | NO | Remarks |
| --- | --- | --- | --- |
| Remotely controlled |  |  |  |
| Occupant Controlled |  |  |  |
| Set-backs during unoccupied times |  |  |  |
| Humidity Control |  |  |  |
| Economizer |  |  |  |

H.  SUPPLEMENTAL OR SPACE HEAT

| Type | YES | NO | Remarks |
| --- | --- | --- | --- |
| Unvented kerosene or gas |  |  |  |
| Vented kerosene or gas |  |  |  |
| Fireplace |  |  |  |
| Woodstove |  |  |  |
| Electric |  |  |  |
| Other |  |  |  |

I.  OUTSIDE AIR

|  | YES | NO | Remarks |
| --- | --- | --- | --- |
| Outside air brought into system |  |  |  |
| Amount of outdoor air |  |  |  |
| Location of air inlet |  |  |  |
| Loading dock or parking near inlet |  |  |  |
| Exhaust stack near inlets |  |  |  |
| Dumpsters near inlet, |  |  |  |
| Organic materials near inlet |  |  |  |
| Bird/bat roosts near inlet |  |  |  |
| Standing water near inlet |  |  |  |
| Automatic air dampers |  |  |  |
| Manual damper |  |  |  |

VI.	POTENTIAL SOURCES OF INDOOR AIR POLLUTANTS

A.  EXHAUST VENTILATION

|  | YES | NO | Remarks |
| --- | --- | --- | --- |
| Functional exhaust fans in bathrooms |  |  |  |
| Functional exhaust fans janitorial rooms |  |  |  |
| Other local exhaust ventilation |  |  |  |

B. PEST CONTOL.

| Source | YES | NO | Remarks, locations, frequency |
| --- | --- | --- | --- |
| In-house pest control |  |  |  |
| Contract pest control |  |  |  |
| Frequency of pest applications |  |  |  |
| Names of pesticides |  |  |  |
| Pesticide application methods |  |  |  |

C.  VISIBLE MOLD GROWTH

|  | YES | NO | Describe locations |
| --- | --- | --- | --- |
| Mold on building materials |  |  |  |
| Mold on Contents or furnishings |  |  |  |
| Musty or damp odors |  |  |  |
| Water Stains |  |  |  |

D. EXTERIOR WATER DAMAGE

|  | YES | NO | Remarks, locations |
| --- | --- | --- | --- |
| Peeling paint |  |  |  |
| Stained / deteriorated siding |  |  |  |
| Stained / deteriorated fascia / soffits |  |  |  |
| Deteriorated window frames |  |  |  |
| Rusted window frames |  |  |  |
| Efflorescence |  |  |  |

E.  INTERIOR WATER DAMAGE

|  | YES | NO | Remarks and locations |
| --- | --- | --- | --- |
| Peeling paint |  |  |  |
| Stained / deteriorated plaster |  |  |  |
| Stained / deteriorated drywall |  |  |  |
| Stained / damaged ceiling materials |  |  |  |
| Rotted / soft flooring/floor joists |  |  |  |
| Rotted / soft framing |  |  |  |
| Wet windows or components |  |  |  |
| Efflorescence |  |  |  |

F.  SOURCES OF EXCESS Moisture

|  | YES | NO | Remarks, describe locations |
| --- | --- | --- | --- |
| Roof leaks |  |  |  |
| Plumbing leaks |  |  |  |
| Window leaks |  |  |  |
| Condensation |  |  |  |
| Standing water in crawl space |  |  |  |
| Standing water in basement |  |  |  |
| Standing water on roof |  |  |  |
| Standing water along exterior walls |  |  |  |

List any other information about sources or pathways for pollutants to accumulate in the building or any other pertinent information.

NOTE:

If possible, please attach a diagram, such as a fire escape plan of the facility and list any important features.